Hello Ruixin

I enclose a review of your report with a modified Jupyter notebook.

You can also consider protruding with different uncertainty bounds of the measurements (e.g. +/- 0.05, +/- 1; +/- 0.15 mg/l), rerunning the calibration and summarising the results.

This allows you to also draw conclusions on the required accuracy of sensors measurements so that useful chlorine predictions can be achieved for water risk safety plans.

Go carefully through the feedback, send me the updated draft report but also include your code as well.

Thank you

Ivan

Hello Ruixin

I suggest an extension to the calibration problem - see the enclosed code and report I prepared for you.

We calibrate the model (with the considered uncertainty bounds) to apply the model for operational reasons - this is even more important with the significant increase in temperature during these summer days, and the impact of the ageing pipe infrastructure. This is what I implemented in the enclosed code.

Please have a look and consider including this as a section in your report.

Ivan